Data/hora: 15/06/2024 08:29:40

Biblioteca(s): 	Embrapa Agroindústria Tropical.	
Data corrente: 	08/11/2012	
Data da última atualização: 	24/04/2013	
Autoria: 	PIMENTA-MARTINS, M. G. R.; FURTADO, R. F.; HENEINE, L. G. D.; DIAS, R. S.; BORGES, M. de F.; ALVES, C. A.	
Afiliação: 	Maria Gardenny Ribeiro Pimenta-Martins, UECE; ROSELAYNE FERRO FURTADO, CNPAT; Luiz Guilherme Dias Heneine, FUNED; Ricardo Souza Dias, FUNED; MARIA DE FATIMA BORGES, CNPAT; Carlucio Roberto Alves, UECE.	
Título: 	Development of an amperometric immunosensor for detection of staphylococcal enterotoxin type A in cheese.	
Ano de publicação: 	2012	
Fonte/Imprenta: 	Journal of Microbiological Methods, v.91, p.138-143, 2012.	
Idioma: 	Português	
Conteúdo: 	This paper reports a novel electrochemical immunosensorforthe sensitive detection of staphylococcal enterotox in A (S EA ) based on self-assembly monolayer (SA M) and p rotein A i mm obilizat io n on gold electro de. Three diffe rent methods of protein A immobilization were tested: physical adsorption, cross-linking using glutaraldehyde and covalent binding after activation with N-hydroxysuccinimide (NHS)/N-ethyl-N'-(3-dimethylaminopropyl) carbodiimide hydrochloride (EDC) on cysteamine-modi fied gold electrode. The EDC/NHS method for protein A immobilization was selected to lead development of the biosensor. The coating steps of the surface modification were characterized by cyclic voltammetry and the biosensor response by chronoamperometry. The advantages of the immunosensor were exposed in its high sensitivity and speci ficity. The proposed amperometric immuno- sensor was successfully used for determination of SEA in contaminated and non-contaminated cheese samples with excellent responses.	
Palavras-Chave: 	Biosensor; Staphylococcal enterotoxin A.	
Thesaurus Nal: 	food safety.	
Categoria do assunto: 	--	
Registro original: 	Embrapa Agroindústria Tropical (CNPAT)	
Exemplares: 	CNPAT - (13525-1) - UPC - AP - PP - SP 05428 -  - 2012.05428 - DIS