Data/hora: 14/06/2024 19:06:25

Biblioteca(s): 	Embrapa Pecuária Sudeste; Embrapa Solos.	
Data corrente: 	23/02/2017	
Data da última atualização: 	10/11/2021	
Autoria: 	GONZALEZ, M. H.; SILVA, C. S. da; AMARAL, C. D. B.; BIANCHI, S. R.; OLIVEIRA, L. H. B. de; COELHO, J. S.; OLIVEIRA, A.; NOGUEIRA, A. R. de A.	
Afiliação: 	Mario Henrique Gonzalez, UNESP; Caroline Santos da Silva, UFSCar; Clarice Dias Britto do Amaral, UFSCar; SILMARA ROSSANA BIANCHI, CNPS; Luciano Henrique Barca de Oliveira, UNESP; Jessica Silva Coelho, UNESP; Andrea Oliveira, UFPR; ANA RITA DE ARAUJO NOGUEIRA, CPPSE.	
Título: 	Determination of elemental impurities in acyclovir ointment and raw materials using microwave acid digestion (MW-AD) and ICP-MS.	
Ano de publicação: 	2017	
Fonte/Imprenta: 	Journal of the Brazilian Chemical Society, v. 28, n. 1, p. 98-105, 2017.	
DOI: 	https://doi.org/10.5935/0103-5053.20160151	
Idioma: 	Inglês
Português	
Conteúdo: 	Inorganic elements present in pharmaceutical products were determined by inductively coupled plasma-mass spectrometer (ICP-MS), employing microwave acid digestion as a sample preparation method. The most abundant isotopes, 75As+ , 65Cu+ , 52Cr+ , 58Ni+ , 208Pb+ , and 51V+ , were determined in acyclovir ointment and its constituents. Elemental impurities in the pharmaceutical samples were determined using an inductively coupled plasma-universal cell technology-mass spectrometer (ICP-UCT-MS) operated in kinetic energy discrimination (KED) and standard mode. The accuracy of the method was assessed by means of addition and recovery experiments. Except for Cr, spiked recoveries of the elements added to the samples before microwave acid digestion (MW-AD) step were between 95.1 and 126%, and after MW-AD step ranged from 85.6 to 132%. Limits of detection (LOD) obtained by proposed method is in agreement to those required by the U.S. Pharmacopeia Convention (USP), showing that the ICP-MS technique is well suited for quantification of these elements. The LOD's (ng L-1) for 51V+ , 52Cr+ , 58Ni+ , 65Cu+ , 75As+ and 208Pb+ in 1% v v-1 HNO3 medium were: 2.2, 81.3, 91.9, 6.9, 0.2 and 3.1, respectively. The concentration of the analytes in these samples presented a wide range, varying from 2.3 ± 0.8 µg kg-1 for As to 3446 ± 47 µg kg-1 for Cr.	
Palavras-Chave: 	Acyclovir; Elemental impurity; Impureza elementar; Pharmaceutical product; Produto farmacêutico.	
Categoria do assunto: 	X Pesquisa, Tecnologia e Engenharia	
URL: 	http://ainfo.cnptia.embrapa.br/digital/bitstream/item/156641/1/0103-5053-jbchs-28-01-0098.pdf	
Registro original: 	Embrapa Solos (CNPS)	
Exemplares: 	CPPSE - (23987-1) - UPC - AP - DD - PROCI-2016.00213 - GON - 2017.00069 - DIS
CNPS - (19577-1) - UPC - AP - DD -  -  - 2017.00132 - DIS