Data/hora: 20/06/2024 03:29:04

Biblioteca(s): 	Embrapa Pecuária Sudeste.	
Data corrente: 	23/08/2016	
Data da última atualização: 	24/08/2016	
Autoria: 	AMARAL, C. D. B. do; SCHIAVO, D.; BARROS, J. A. V. de A.; MACHADO, R. C.; NOGUEIRA, A. R. de A.; NOBREGA, J. de A.	
Afiliação: 	Clarice Dias Britto do Amaral, UFSCar; Daniela Schiavo, Agilent Technologies; Juan Antônio Vázquez de Almeida Barros, UFSCar; Raquel Cardoso Machado, UFSCar; ANA RITA DE ARAUJO NOGUEIRA, CPPSE; Joaquim de Araújo Nóbrega, UFSCar.	
Título: 	Characterization of synchronous vertical dual view inductively coupled plasma optical emission spectrometry with application for water analysis.	
Ano de publicação: 	2016	
Fonte/Imprenta: 	Analytical Letters, v. 49, n. 13, p. 1-7, 2016.	
ISSN: 	1532-236X	
DOI: 	http://dx.doi.org/10.1080/00032719.2015.1131709	
Idioma: 	Português	
Conteúdo: 	The performance of an inductively coupled plasma optical emission spectrometer was evaluated using Ar, Ba, Mg, and Ni as test elements. Short- and long-term stabilities were excellent with relative standard deviations lower than 2%. The warm-up times in axial, radial, and synchronous vertical dual view (SVDV) modes were 2 min. The limits of detection and quantification for As, Ba, Cd, Cr, Cu, Hg, Ni, Pb, Sb, Se, and U were evaluated and the values were compatible with Brazilian and the US Environmental Protection Agency legislation for potable water. A standard reference material of trace elements in water (SRM 1643e) was used to verify the accuracy for As, Ba, Cd, Cr, Cu, Ni, Pb, Sb, and Se in axial and SVDVs. Both configurations provided suitable accuracy and sensitivity. The elements were successfully determined in three bottled commercial drinking water and in two fortified samples using SVDV.	
Palavras-Chave: 	Plasma diagnostic; Simultaneous dual view; Synchronous vertical dual view.	
Thesagro: 	Análise química.	
Thesaurus Nal: 	Atomic absorption spectrometry; Drinking water; water analysis.	
Categoria do assunto: 	W Química e Física	
Registro original: 	Embrapa Pecuária Sudeste (CPPSE)	
Exemplares: 	CPPSE - (23687-1) - UPC - AP - DD - PROCI-2016.00051 - AMA - 2016.00092 - DIS