Data/hora: 01/06/2024 05:05:05

Biblioteca(s): 	Embrapa Instrumentação.	
Tipo da produção científica: 	Artigo em Periódico Indexado	
Circulação/Nível: 	B - 5	
Data corrente: 	27/09/2022	
Data da última atualização: 	25/11/2022	
Autoria: 	CONTI, P. P.; SANTOS, D. M. dos; GOLDTHORPE, I. A.; CORREA, D. S.	
Afiliação: 	DANIEL SOUZA CORREA, CNPDIA.	
Título: 	TiO2 hollow nanofiber/polyaniline nanocomposites for ammonia detection at room temperature.	
Ano de publicação: 	2022	
Fonte/Imprenta: 	Chemistry of Nanomaterials for Energy, Biology and More, v. 8, n. 8, e202200154, 2022.	
Páginas: 	1 - 9	
ISSN: 	2199-692X	
DOI: 	doi.org/10.1002/cnma.202200154	
Idioma: 	Inglês	
Conteúdo: 	Ammonia (NH3) detection has gained considerable attention in agricultural and environmental monitoring, chemical and pharmaceutical processing, and disease diagnosis, which requires the development of sensors with high sensitivity. Herein, we propose a novel gas sensor based on nanocomposites of TiO2 hollow nanofibers and polyaniline (PANI) for the sensitive detection of ammonia at room temperature. TiO2 nanostructures in anatase phase were prepared by the combination of coaxial electrospinning and calcination treatment. The resulting material was mixed with PANI and deposited onto gold interdigitated electrodes (IDEs). The hybrid platforms exhibited superior sensing performance compared to the platform based on their individual phases, which is ascribed to a synergistic effect from p-n heterojunction formation. Specifically, the platforms based on TiO2/PANI nanocomposite showed a fast response towards NH3 (e.g., 55 s at 10 ppm) at room temperature (25°C). Additionally, the platform demonstrated the ability to detect NH3 at low concentrations (10?30 ppm) and a detection mechanism was proposed to explain the results. Overall, these results show the promise of electrospun TiO2 hollow nanofibers/PANI composites for the development of high-performance room temperature ammonia sensors	
Palavras-Chave: 	Chemiresistive sensors; Gas pollutants; Toxic gas.	
Categoria do assunto: 	--	
URL: 	http://ainfo.cnptia.embrapa.br/digital/bitstream/doc/1146890/1/P-TiO2-Hollow-Nanofiber-Polyaniline-Nanocomposites-for-Ammonia.pdf	
Registro original: 	Embrapa Instrumentação (CNPDIA)	
Exemplares: 	CNPDIA - (18048-1) - UPC - AP - DD - PROCI.22/86 -  - 2022/93 - DIS