Data/hora: 23/06/2024 13:03:01

Biblioteca(s): 	Embrapa Pecuária Sudeste.	
Tipo da produção científica: 	Artigo em Periódico Indexado	
Circulação/Nível: 	A - 2	
Data corrente: 	07/07/2021	
Data da última atualização: 	28/09/2021	
Autoria: 	SILVA, A. B. S. do; SÁ, I. P. de; MARCANO DE HIGUERA, J.; NOGUEIRA, A. R. de A.	
Afiliação: 	ANA BEATRIZ SANTOS DA SILVA, UFSCAR; ÍVERO PITA DE SÁ, UFSCAR; JULYMAR MARCANO DE HIGUERA, UFSCAR; ANA RITA DE ARAUJO NOGUEIRA, CPPSE.	
Título: 	Feasibility of dispersive liquid-liquid microextraction for molybdenum determination in lamb meat by MIP OES.	
Ano de publicação: 	2021	
Fonte/Imprenta: 	Food Analytical Methods, v.14, 2021.	
Páginas: 	p.496-502.	
ISSN: 	1936-976X	
DOI: 	https://doi.org/10.1007/s12161-020-01898-x	
Idioma: 	Inglês	
Conteúdo: 	The dispersive liquid?liquid microextraction (DLLME) was evaluated as a strategy to improve the MIP OES sensitivity for molybdenum determination in lamb meat. Initially, the dispersive (methanol) and extracting (tetrachloromethane) solvents were selected based on a mixture design. The best results were achieved with methanol and carbon tetrachloride as dispersive and extracting solvent, respectively. The operational parameters, such as pH, volume of dispersive and extractant solvents, and complexing agent concentration (8-hydroxyquinoline) were optimized using a Box-Behnken design. The optimal conditions were established as pH 3.8, 90 uL of carbon tetrachloride, 480 uL of methanol, and 1.09 mmol L-1 of 8-hydroxyquinoline. Besides, the use of external gas module control (EGCM) was explored to minimize the matrix effects caused by the organic solvent introduction. The accuracy of the proposed method was estimated employing a certificate reference material (bovine liver, NIST 1577c) and the obtained recovery was 92%. The limit of detection was found to be 0.20 ug g-1, and the enrichment factor was 4.5. The DLLME-MIP OES was applied for six samples of lamb meat, and the results compared to ICP-MS presented no statistical difference. Therefore, the proposed method showed satisfactory accuracy and suitable sensitivity.	
Palavras-Chave: 	DLLME; MIP OES; Sample preparation; Trace analysis.	
Thesaurus Nal: 	Microextraction.	
Categoria do assunto: 	W Química e Física	
Registro original: 	Embrapa Pecuária Sudeste (CPPSE)	
Exemplares: 	CPPSE - (25360-1) - UPC - AP - DD - PROCI-2021.00091 - SIL - 2021.00099 - DIS