Data/hora: 18/06/2024 13:25:12

Biblioteca(s): | Embrapa Meio Ambiente.
Data corrente: | 04/12/2019
Data da última atualização: | 15/03/2022
Autoria: | SOUZA, D. R. C. de; ASSALIN, M. R.; SANTOS, R. S. dos; DORES, E. F. G. C.
Afiliação: | DEBORA RENATA CASSOLI DE S DUTRA, CNPMA; MARCIA REGINA ASSALIN, CNPMA; ROBERTA SCANAGATTA DOS SANTOS, UFMT; ELIANA F GASPAR DE CARVALHO DORES, UFMT.
Título: | Method validation for multiresidue pesticide determinationin riverbed sediment using QuEChERS and GC-MS/MS and application in samples from an important watershed in Central Western Brazil.
Ano de publicação: | 2020
Fonte/Imprenta: | International Journal of Environmental Analytical Chemistry,v. 100, n. 13, p. 1536-1548, 2020.
DOI: | https://doi.org/10.1080/03067319.2019.1657107
Idioma: | Inglês
Conteúdo: | Abstract: n time and ion ratio, makes it suitable for the analysis of complex samples such as sediment. Finally, the method was applied to samples of river sediment collected near cotton and soybean cultivation. Twelve sediment samples from the São LoThis study aims at validating a method used to determine pesticide residues in areas of cotton and soybean crops riverbed sediments in the São Lourenço River basin, an important watershed in Central Western Brazil, which has a history of pesticide use during cultivation. The optimised QuEChERS acetate methodology was validated, demonstrating good accuracy (71.7-116.4%), except for carbosulfan (51.0%), and good precision (intra-day repeatability 5.1-20.0% and inter-day reproducibility 6.2-18.5%) except for trifluralin and carbosulfan. The linearity was satisfactory with coefficient determination R2 > 0,99. The use of internal standard, triphenyl phosphate (TPP), showed better results during validation than without its use. The limits of detection and quantification range were 1.07 to 10.7 ng g-1 and 5.0 to 15.0 ng g-1 of dry weight sediment, respectively. The matrix effect was evaluated and a strong signal enhancement was observed using gas chromatograph (GC) coupled with spectrometry mass (MS/MS). The use of matrix-matched standards was compensated by better sensibility in the analysis. The use of simple, fast, sensitive methodology combined with the use of two transitions, retentiourenço River basin, Mato Grosso, were analysed to test the applicability of the validated method. Among the 22 analysed pesticides, cyhalothrin was detected in two samples (59.8 and 66.9 ng g-1), difenoconazole in five samples (<LOQ to 34.4 ng g-1), azoxystrobin in one sample (9.5 ng g-1) and bifenthrin was detected in 10 samples whose levels ranged from < LOQ to 151.4 ng g-1.
Palavras-Chave: | QuEChERS.
Thesagro: | Agrotóxico; Análise Química; Bacia Hidrográfica; Resíduo Quimico.
Thesaurus Nal: | Gas chromatography-mass spectrometry; Pesticide residues; Sediments; Watersheds.
Categoria do assunto: | P Recursos Naturais, Ciências Ambientais e da Terra
Registro original: | Embrapa Meio Ambiente (CNPMA)
Exemplares: | CNPMA - (16564-1) - UPC - AP - DD -  -  -  - DIS